Adrenalin						
Adrenaline 		Human - ELISA Kit - 1 plate - 96 tests	EK108-A		£ 456
Sensitivity:5.0pg/ml	Range:1250 - 5 pg/ml	Incub.Time:1.30h	Sample:1-100 µl

PG  (Aggrecam)			
PG (Aggrecan) 	Human - ELISA Kit - 2 plates - 192 tests	EK2356-B		£ 551
Sensitivity:0.9 ng/ml	Range:250 - 10 ng/ml	Incub.Time:3.15 h	Sample:50 µl

Annexin V				
Annexin V 		Human - ELISA Kit - 1 plate - 96 tests	EK142-A		£ 313
Sensitivity:0.33 ng/ml	Range:50 - 0.8 ng/ml	Incub.Time:3.25 h	Sample:50 µl

Annexin V 		Huma n - ELISA Kit - 1 plate - 96 tests	EK162-A		£ 313
Sensitivity:1.18 ng/ml	Range: 400 - 6.25 ng/ml	Incub.Time:2.25 h	Sample:50 µl

APO-1				
APO-1 FAS 		Human - ELISA Kit - 1 plate - 96 tests 	EK354-A		£ 358	
Sensitivity:<20 pg/ml	Range15 - :0.23 ng/ml	Incub.Time:2 h	Sample:100 µl

APO-1 FAS/CD95 	Human - ELISA Kit -  2 plates - 192 tests 	EK355-B		£ 551
Sensitivity:<20 pg/ml	Range15 - :0.23 ng/ml	Incub.Time:2 h	Sample:100 µl

APO-1 soluble FAS 	Human - ELISA Kit  - 1 plate - 96 tests	EK2664-A		£ 313
Sensitivity:13.2 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.25 h	Sample:10 µl
	
APRIL				
APRIL 		Human - ELISA Kit – 1 plate - 96 tests 	EK362-A		£ 310
Sensitivity:0.4 ng/ml	Range:50 - 0.8 ng/ml	Incub.Time:3.25 h	Sample:50 µl

BAFF							
BAFF 		Human - Ready ELISA - 1 plate - 128 tests 	ET377-A		£ 350
Sensitivity:0.13 ng/ml	Range:20 - 0.31 ng/ml	Incub.Time:3.25 h	Sample:50 µl

Bcl-2				
Bcl-2 		Human - ELISA Kit -  1 plate – 96 tests 	EK387-A		£	313
Sensitivity:0.5 ng/ml	Range:32 - 0.5 ng/ml	Incub.Time:3.25 h	Sample:20 µl

VE Cadherin			
VE-Cadherin soluble  	Human - ELISA Kit - 1 plate - 96 tests	EK2888-A		£	313
Sensitivity:0.15 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:20 µl

VE-Cadherin soluble 	Human – Ready ELISA  - 128 tests 	ET2889-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.05 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:20 µl
VE-Cadherin soluble  	Monkey - ELISA Kit - 1 plate - 96 tests 	EK2893-A		£	289
Sensitivity:0.10 U/ml	Range:12.5 - 0.19 U/ml	Incub.Time:3.25 h	Sample:50 µl

Calcitonin				  
Calcitonin 	  	Human - ELISA Kit - 1plate  - 96 tests 	EK436-A		£	386
Sensitivity:0.5 pg/ml	Range:1000 - 5 pg/ml	Incub.Time:30 m	Sample:50 µl

Caspases 					 
Caspase-3  		Human - Ready ELISA  - 128 tests 	ET450-A		£	350
			Includes 4 x 8  well standard curves
Sensitivity:0.12 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:10 µl

Caspase-8 		Human - ELISA Kit  - 1 plate - 96 tests 	EK451-A		£	313
Sensitivity:0.10 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:50 µl

Caspase-9 		Human - ELISA Kit  - 1 plate - 96 tests 	EK452-A		£	313
Sensitivity:0.4 ng/ml	Range:100 - 1.6 ng/ml	Incub.Time:3.25 h	Sample:50 µl

Cathepsin L			    
Cathepsin L  	Human - ELISA Kit - 1 plate - 96 tests 	EK453-A		£	313
Sensitivity:1.71 ng/ml	Range:50 - 3.12 ng/ml	Incub.Time:3.2 h	Sample:50 µl

SAM 1 (Sintercellular Adhesion Molecule)			
SAM 1 		Human - ELISA Kit - 1 plate - 96 tests	EK2772-A		£	310
Sensitivity:2.17 ng/ml	Range:100 - 6.25 ng/ml	Incub.Time:1.2 h	Sample:10 µl

SAM 1 		Human - Ready ELISA - 1 plate - 128 tests	ET5522-A		£	350
			Includes 4 x 8  well standard curves
Sensitivity:2.17 ng/ml	Range:100 - 1.56 ng/ml	Incub.Time:2.1 h	Sample:10 µl

SAM 1		Monkey - ELISA Kit - 1 plate – 96 tests 	EK2783-A		£	289
Sensitivity:1.05 U/ml	Range:100 - 6.25 U/ml	Incub.Time:1.2 h	Sample:25 µl

SAM 1		Monkey - Ready ELISA - 1 plate - 128 tests	ET2784-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:1.05 U/ml	Range:100 - 1.6 U/ml	Incub.Time:2.1 h	Sample:25 µl

SAM 2 (Sintercellular Adhesion Molecule)				
SAM 2    		Human - ELISA Kit - 1 plate - 96 tests 	EK2787-A		£	313		
Sensitivity:0.30 U/ml	Range:24 - 0.75 U/ml	Incub.Time:2 h	Sample:100 µl (1:20 prediluted)

SAM 3 (Sintercellular Adhesion Molecule)				
SAM 3  		Human - Ready ELISA - 1 plate - 128 tests	ET2789-A		£	345
			Includes 4 x 8  well standard curves	
Sensitivity:0.38 ng/ml	Range:50 - 0.78 ng/ml	Incub.Time:3.25 h	Sample:20 µl

SAM 3 		Human - ELISA Kit - 1 plate - 96 tests	EK2788-A		£	313
Sensitivity:0.38 ng/ml	Range:50 - 0.78 ng/ml	Incub.Time:2.25 h	Sample:20 µl

CD Markers						 
CD8 soluble 	Human - ELISA Kit - 1 plate – 96 tests	EK2723-A		£	313
Sensitivity:6.9 U/ml	Range:2000 - 31.3 U/ml	Incub.Time:4.1 h	Sample:50 µl

CD23 soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2675-A		£	313
Sensitivity:6.8 U/ml	Range:400 - 12.5 U/ml	Incub.Time:3.25 h	Sample:100 µl

CD23 soluble 	Human - ELISA Kit - 2 plates - 192  tests 	EK2681-B		£	573
Sensitivity:0.15 U/ml	Range:20 - 1.0 U/ml	Incub.Time:2.30 h	Sample:50 µl

CD23 soluble 	Human - Ready ELISA - 1 plate - 128 tests	ET2677-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:3.3 U/ml	Range:400 - 6.25 U/ml	Incub.Time:3.2 h	Sample:50 µl
	
CD26 soluble 	Human - ELISA Kit - 1 plate – 96 tests	EK2682-A		£	313
Sensitivity:7.26 ng/ml	Range:500 - 15.6 ng/ml	Incub.Time:4.1 h	Sample:20 µl

CD27 soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET2684-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.264 U/ml	Range:20 - 0.625 U/ml	Incub.Time:3.2 h	Sample:50 µl (1:25 prediluted)

CD28 soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2685-A		£	313
Sensitivity:0.18 ng/ml	Range:50 - 0.78 ng/ml	Incub.Time:3.25 h	Sample:50 µl
	
CD30 soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2688-A	£	313
Sensitivity:0.33 U/ml	Range:100 - 1.6 ng/ml	Incub.Time:3.2 h	Sample:25 µl	

CD30 soluble 	Human – Ready ELISA - 1 plate - 128 tests 	ET2690-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.33 U/ml	Range:100 - 1.6 ng/ml	Incub.Time:3.2 h	Sample:25 µl

CD40 Ligand 	Mouse - ELISA Kit -1plate - 96 tests	EK552-A		£	289
Sensitivity:0.14 ng/ml	Range:20 - 0.31 ng/ml	Incub.Time:3.2 h	Sample:50 µl

CD40 Ligand soluble 	Human - ELISA Kit - 1 plate - 96 tests       	EK2698-A		£	313
Sensitivity:0.062 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:2.25 h	Sample:20 µl
CD40 Ligand soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET5510-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.062 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:2.25 h	Sample:15 µl
	
CD40 soluble 	Human - ELISA Kit - 1 plate – 96 tests 	EK2695-A		£	313
Sensitivity:6.92 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

CD44 std soluble 	Human - ELISA Kit -1 plate- 96 tests	EK2709-A		£	313
Sensitivity:0.015 ng/ml	Range:4 - 0.12 ng/ml	Incub.Time:3.25 h	Sample:20 µl (1:60 prediluted)

CD44 std soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET5551-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.016 ng/ml	Range:4 - 0.063 ng/ml	Incub.Time:3.2 h	Sample:20 µl (1:60 prediluted)

CD44 var (v5) soluble 	Human - ELISA Kit -1 plate - 96 tests	EK5622-A		£	313
Sensitivity:0.14 ng/ml	Range:10 - 0.32 ng/ml	Incub.Time:3.25 h	Sample:20 µl (1:6 prediluted)

CD44 var (v5) soluble 	Human - Ready ELISA 128 tests 	ET5555-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.10 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:20 µl (1:6 prediluted)	
	
CD44 var (v6) soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET5599-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.06 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.2 h	Sample:20 µl (1:20 prediluted)

CD80 soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET2724-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.10 ng/ml	Range:20 -0.32 ng/ml	Incub.Time:3.2 h	Sample:50 µl

CD86 soluble 	Human - Ready ELISA - 1 plate - 128 tests  	ET2725-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.14 ng/ml	Range:50 - 0.78 ng/ml	Incub.Time:3.2 h	Sample:50 µl

CD137 soluble 	Human - ELISA Kit - 1 plate – 96 tests	EK2672-A		£	313
			Includes 4 x 8  well standard curves
Sensitivity:0.2 ng/ml	Range:50 - 0.78 ng/ml	Incub.Time:3.25 h	Sample:50 µl
	
CD153 soluble 	Human - ELISA Kit - 1 plate 96 tests	EK2674-A		 £ 313
(sCD30L)
Sensitivity:0.5 ng/ml	Range:100 - 1.6 U/ml	Incub.Time:3.25 h	Sample:50 µl

ICAM - 1				
ICAM -1 soluble 	Human - ELISA Kit - 1 plate – 96 tests 	EK1088-A		£	337
Sensitivity:0.5 ng/ml	Range:10 - 0.625 ng/ml	Incub.Time:2.15 h	Sample:10 µl

ICAM -1 soluble 	Human - ELISA Kit - 1plate – 96 tests	EK1085-B		£	489
Sensitivity:0.5 ng/ml	Range:10 - 0.625 ng/ml	Incub.Time:2.15 h	Sample:10 µl

ICAM - 3			
ICAM - 3 soluble 	Human - ELISA Kit - 1 plate - 96 tests 	EK1089-A		£	386
Sensitivity:0.58 ng/ml	Range:50 - 0.58 ng/ml	Incub.Time:2.25 h	Sample:20 µl   

C-peptide				
c-peptide 		Human - ELISA Kit  - 1 plate - 96 tests	EK657-A		£	386
Sensitivity:0.0.2 pmol/ml	Range:60 - 0.06 pmol/ml	Incub.Time: 2.30 h	Sample:50 µl

CRP					
CRP 		Human - Ready ELISA - 1 plate - 128 tests 	ET669-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:3.0 pg/ml	Range:5000 - 78 pg/ml	Incub.Time:2.25 h	Sample:100 µl (1:500 prediluted)

CTLA-4				
CTLA-4 soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2734-A		£	313
			Includes 4 x 8  well standard curves
Sensitivity:0.13 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:10 µl

Cytochrome C				
Cytochrome C 	Human - ELISA Kit - 1 plate - 96 tests	EK684-A		£	313
Sensitivity:0.05 ng/ml	Range:5 - 0.08 ng/ml	Incub.Time:3.25 h	Sample:100 µl

DCR3					
DCR3 		Human - ELISA Kit - 1 plate - 96 tests 	EK692-A		£	313
Sensitivity:7.0 pg/ml	Range:5000 - 78 pg/ml	Incub.Time:3.25 h	Sample:50 µl

Dopamine					
Dopamine 		Human - ELISA Kit - 1 plate – 96 tests	EK696-A		£	456
Sensitivity:7.5 pg/ml	Range:3840 - 15pg/ml	Incub.Time:1.5 h	Sample:1-100 µl

DR5					
DR5 		Human - ELISA Kit - 2 plates - 192 tests	EK701-B		£	551
Sensitivity:<25 pg/ml	Range:5000 - 78 pg/ml	Incub.Time:4 h	Sample:100 µl

EGF						
EGF 		Human - ELISA Kit - 1 plate - 96 tests	EK707-A		£	302
Sensitivity:<1 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:4 h	Sample:100 µl
EGF 		Human - ELISA Kit - 2 plates - 96 tests 	EK708-B		£	548
Sensitivity:<1 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:4 h	Sample:100 µl

EMAP-II					
EMAP-II 		Human - ELISA Kit - 1 plate - 96 tests	EK739-A		£	344
Sensitivity:<0.2 ng/ml	Range:20 - 0.3 ng/ml	Incub.Time:4 h	Sample:100 µl

Eotaxin							
Eotaxin 		Human - ELISA DIRECT Kit - 1 plate - 96 test  EK748-A		£	358
Sensitivity:<2.2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:50 µl

Eotaxin 		Human - ELISA DIRECT Kit - 2 plates - 192 test EK749-B		£	573
Sensitivity:<2.2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:50 µl

Eotaxin 		Mouse - ELISA Kit – 1 plate – 96 tests	EK753-A	£	330
Sensitivity:1.0 pg/ml	Range:500 - 7.8 pg/ml 	Incub.Time:4 h	Sample:10 µl

Eotaxin 		Mouse - ELISA Kit - 2 plates - 192 tests	EK780-A		£	522
Sensitivity:1.0 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4  h	Sample:10 µl
	
Estradiol								
Estradiol 17 beta 	Human - ELISA Kit - 1 plate - 96 tests	EK780-A		£	386
Sensitivity:5 pg/ml	Range:1000-10 pg/ml	Incub.Time:2.30 h	Sample:50 µl

Fas Ligand							
Fas Ligand soluble 	Human - ELISA Kit - 1 plate - 96 tests	 EK2760-A		£	313
Sensitivity:0.07 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:50 µl

FGFb (basic)							
FGFb (basic) 	Human - ELISA Kit - 1 plate - 96 tests	EK833-A		£	358
Sensitivity:<7pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

FGFb (basic) 	Human - ELISA Kit - 2 plates - 192 tests	EK834-B		£	573
Sensitivity:<7pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

Fibronectin							
Fibronectin 		Human - ELISA Kit - 1 plate - 96 tests	EK840-A		£	313
Sensitivity:0.1 ng/ml	Range:20 - 0.31 ng/ml	Incub.Time:3.25 h	Sample:50 µl

FSH (Follicle Stimulating Hormone)					
FSH		Human - ELISA Kit - 1plate - 96 tests	EK850-A		 £	386
Sensitivity:0.15 mIU/ml	Range:150 - 1 mIU/ml	Incub.Time:45 m	Sample:50 µl

G-CSF								
G-CSF 		Human - ELISA Kit - 1 plate - 96 tests	EK857-A		£	358
Sensitivity:<20 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:4 h	Sample:50 µl
	
G-CSF 		Human - ELISA Kit - 2 plates - 192 tests	EK858-B		£	573
Sensitivity:<20 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:4 h	Sample:50 µl

G-CSF 		Human - Ready ELISA - 1 plate - 128 tests	ET859-A		£	350
			Includes 4 x 8  well standard curves
Sensitivity:11 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:3.25 h	Sample:25 µl

G-CSF 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK865-A		£	309
Sensitivity:<5 pg/ml	Range:900 - 14.1 pg/ml	Incub.Time:3 h	Sample:25 µl
	
G-CSF 		Mouse - ELISA Kit – 1 plate – 96 tests	EK866-B		£	445
Sensitivity:<5 pg/ml	Range:900 - 14.1 pg/ml	Incub.Time:3 h	Sample:25 µl

GM-CSF						
GM-CSF 		Human - ELISA DIRECT Kit 	EK884-A		£	337
			1 plate - 96 tests	
Sensitivity:3 pg/ml	Range:2000 - 50 pg/ml	Incub.Time:4 h 15m	Sample:200 µl

GM-CSF 		Human - ELISA DIRECT Kit 	EK885-B		£	573
			2 plates - 192 tests				
Sensitivity:3 pg/ml	Range:2000 - 50 pg/ml	Incub.Time:4 h 15m	Sample:200 µl

GM-CSF 		Human - ELISA Kit - 1 plate – 96 tests 	EK886-A		£	337
Sensitivity:<1.25 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:2.30 h	Sample:50 µl

GM-CSF 		Human - ELISA Kit  - 2 plates – 96 tests	EK888-B		£	573
Sensitivity:<1.25 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:2.30 h	Sample:50 µl

GM-CSF 		Human - ELISA Kit - 1 plate - 96 tests	EK2289-A		£	313
Sensitivity:2.9 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

GM-CSF 		Human - Ready ELISA - 1 plate - 128 tests 	ET5587-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.6 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

GM-CSF 		Mouse - ELISA Kit - 1 plate - 96 tests	EK899-A		£	318
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml 	Incub.Time:4 h	Sample:50 µl

GM-CSF 		Mouse - ELISA Kit - 1 plate - 96 tests	EK900-A		£	289
Sensitivity:1.98 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.50 h	Sample:50 µl

GM-CSF 		Mouse - ELISA Kit - 2 plates -192 tests	EK901-B		£	430
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl
GM-CSF 		Rat - ELISA Kit -1 plate - 96 tests	EK910-A		£	289
Sensitivity:3.5 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.2 h	Sample:50 µl

Granzyme A							
Granzyme A 	Human - ELISA Kit - 1 plate - 96 tests 	EK3383-A		£	313
Sensitivity:0.4 pg/ml	Range:600 - 0.8 pg/ml	Incub.Time:2.45 h	Sample:50 µl

Granzyme B							
Granzyme B 	Human - ELISA Kit - 1 plate - 96 tests	EK4220-A		£	313
Sensitivity:0.2 pg/ml	Range:480 - 0.7 pg/ml	Incub.Time:2.45 h	Sample:50 µl

Haptoglobulin							
Haptoglobulin 	Human - ELISA Kit - 1 plate - 96 tests	EK1073-A		£	180
Sensitivity:0.05 mg/ml	Range:2.0 - 0 mg/ml	Incub.Time:5 m	Sample:7.5 µl

PMN-Elastase							
PMN-Elastase 	Human - ELISA Kit - 1 plate - 96 tests	EK2423-A		£	313
Sensitivity:1.98 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:2.33 h	Sample:100 µl (1:100 prediluted)

HER-2							
HER-2 (p185) soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2822-A		£	313
Sensitivity:0.06 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:2.25 h	Sample:100 µl (1:20 prediluted)

HER-2 (p185) soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET2823-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.06 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.2 h	Sample:100 µl (1:20 prediluted)
	
HGF								
HGF 		Human - ELISA DIRECT Kit	EK1076-A		£	351
			1 plate – 96 tests
Sensitivity:<10 pg/ml	Range:1000 - 156 pg/ml	Incub.Time:3 h	Sample:50 µl

HGF 	Human - ELISA DIRECT kit	EK1077-B	£	489
		2 plates -192 tests
Sensitivity:<10 pg/ml	Range:1000 - 156 pg/ml	Incub.Time:3 h	Sample:50 µl

Growth Hormone 	Human - ELISA Kit -1 plate - 96 tests	EK1067-A		£	386
Sensitivity:0.1 µIU/ml	Range:100 – 1.0 µIU/ml	Incub.Time:1.15m	Sample:50 µl

Histamine									
Histamine 		Human - ELISA Kit - 1 plate - 96 tests	EK1079-A		£	386
Plasma Sensitivity:0.1 ng/ml	Range:30 - 0.3 ng/ml	Incub.Time:40 h	Sample:25 µl
Urine Sensitivity:0.25 ng/ml	Range:30 -0.3 ng/ml	Incub.Time:40 h	Sample:10 µl 

IGF 1R								
IGF 1R		Human - ELISA Kit - 1 plate - 96 tests	EK1090-A		£	372
Sensitivity<130 pg/ml	Range:10 – 0.16 ng/ml	Incub.Time:1.30 h	Sample 100 µl
		
IL-1 alpha								
IL-1 alpha 		Human - ELISA DIRECT Kit	EK1115-A		£	316
			1 plate – 96 tests
Sensitivity:1 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.h	Sample:50 µl
IL-1 alpha 		Human - ELISA DIRECT Kit	EK1116-B		£	573
			2 plates – 192 tests
Sensitivity:1 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.h	Sample:50 µl

IL-1 alpha 		Human - ELISA Kit - 1 plate - 96 tests	EK1117-A		£	313
Sensitivity:1.6 pg/ml	Range:100 - 1.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-1 alpha 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1129-A		£	289
Sensitivity:3.9 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-1 alpha 		Mouse - Ready ELISA - 1 plate - 128 tests 	ET1130-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:3.1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-1 alpha 		Rat - ELISA Kit - 1 plate - 96 tests	EK1135-A		£	330
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-1 alpha 		Rat - ELISA Kit - 1 plate - 96 tests	EK1136-A		£	289
Sensitivity:4.1 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-1 alpha 		Rat - ELISA Kit - 2 plates - 96 tests	EK1137-B		£	556
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-1 beta								
IL-1 beta 		Human - ELISA DIRECT Kit	EK1154-A		£	316
			1 plate - 96 tests
Sensitivity:2 pg/ml	Range:1400 - 30 pg/ml	Incub.Time:2.15 h	Sample:200 µl

IL-1 beta 		Human - ELISA DIRECT kit	EK1155-B		£	573
			2 plates - 192 tests
Sensitivity:2 pg/ml	Range:1400 - 30 pg/ml	Incub.Time:2.15 h	Sample:200 µl
	
IL-1 beta 		Human - ELISA Kit - 1 plate - 96 tests	EK1157-A		£	316
Sensitivity:<1 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:2.55 h	Sample:50 µl

IL-1 beta 		Human - ELISA Kit - 1 plate  96 tests	EK1158-A		£	313
Sensitivity:0.32 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.2 h	Sample:50 µl
IL-1 beta 		Human - ELISA Kit - 2 plates - 192 tests	EK1159-B		£	548
Sensitivity:<1 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:2.55 h 	Sample:50 µl

IL-1 beta 		Human - ELISA Kit - 5 plates - 480 tests	EK1160-C		£	1,070
Sensitivity:<1 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:2.55 h	Sample:50 µl

IL-1 beta 		Human - Ready ELISA -128 tests	ET5579-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.7 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-1 beta 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1174-A		£	323
Sensitivity:<7 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.30 h	Sample:50 µl

IL-1 beta 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1175-A		£	289
Sensitivity:1.2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-1 beta 		Mouse - ELISA Kit - 2 plates - 192 tests	EK1176-B		£	522
Sensitivity:<7 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.30 h	Sample:50 µl

IL-1 beta 		Mouse - ELISA Kit - 5 plates  480 tests	EK1177-C		£	1,050
Sensitivity:<7 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.30 h	Sample:50 µl

IL-1 beta 		Rat - ELISA Kit - 1 plate - 96 tests	EK1186-A		£	330
Sensitivity:<3 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:5 h	Sample:50 µl

IL-1 beta 		Rat - ELISA Kit - 1 plate - 96 tests   	EK1187-A		£	289
Sensitivity:4.4 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.20 h	Sample:50 µl

IL-1 beta 		Rat - ELISA Kit - 2 plates - 192 tests	EK1188-B		£	522
Sensitivity:<3 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:5 h	Sample:50 µl

IL-1 beta 		Rat - ELISA Kit - 5 plates - 480 tests	EK1189-C		£	1,094
Sensitivity:<3 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:5 h	Sample:50 µl

IL-1 beta 		Porcine - ELISA Kit - 1 plate - 96 tests	EK1195-A		£	323
Sensitivity:<15 pg/ml	Range:2500 – 39 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-1 beta 		Porcine - ELISA Kit - 2 plates - 192 tests	EK1196-B		£	556
Sensitivity:<15 pg/ml	Range:2500 – 39 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-1 R Antagonist							
IL-1 R Antagonist 	Rat - ELISA Kit - 1 plate - 96 tests 	EK1206-A		£	330
Sensitivity:<12 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-1 R Antagonist Rat - ELISA Kit - 2 plates - 192 tests	EK1207-B		£	556
Sensitivity:<12 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-1 R I								
IL-1 R I 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1449-A		£	289
Sensitivity:<12 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-1 RA								
IL-1 RA 		Human - ELISA DIRECT Kit 	EK1208-A		£	358
			1 plate - 96 tests
Sensitivity:4 pg/ml	Range:1700 - 30 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-1 RA 		Human - ELISA DIRECT Kit 	EK1209-B		£	573
			2 plates - 192 tests
Sensitivity:4 pg/ml	Range:1700 - 30 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-2								
IL-2 		Human - ELISA DIRECT Kit 	EK1458-A		£	309
			1 plate - 96 tests
Sensitivity:0.1 U/ml	Range:30 – 1.0 U/ml	Incub.Time:2.15 h	Sample:100 µl

IL-2 		Human - ELISA DIRECT Kit 	EK1459-B		£	548
			2 plates - 192 tests
Sensitivity:0.1 U/ml	Range:30 – 1.0 U/ml	Incub.Time:2.15 h	Sample:100 µl

IL-2 		Human - ELISA Kit - 1 plate - 96 tests 	EK1461-A		£	309
Sensitivity:<5.1 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-2 		Human - ELISA Kit - 1 plate - 96 tests 	EK1462-A		£	313
Sensitivity:9.9 pg/ml	Range:1200 - 19 pg/ml	Incub.Time:3.25 h	Sample:100 µl

IL-2 		Human - ELISA Kit - 1 plate - 96 tests 	EK1465-C		£	986
Sensitivity:<5.1 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-2 		Human - ELISA Kit - 2 plates - 192 tests 	EK1466-B		£	548
Sensitivity:<5.1 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-2 		Human - Ready ELISA - 1 plate - 128 tests 	ET5505-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:2.3 pg/ml	Range:1200 - 19 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-2 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1488-A		£	289
Sensitivity:5.3 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.20 h	Sample:50 µl

IL-2 		Mouse - ELISA Kit - 2 plates - 192 tests 	EK1489-B		£	522
Sensitivity:<8 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-2 		Mouse - ELISA Kit - 5 plates - 480 tests 	EK1490-C		£	1,050
Sensitivity:<8 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-2 		Mouse - Ready ELISA - 1 plate - 128 tests 	ET1492-A		£	316
Sensitivity:5.3 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.20 h	Sample:50 µl

IL-2 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1487-A		£	323
Sensitivity:<8 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-2 		Rat - ELISA Kit - 1 plate - 96 tests	EK1506-A		£	445
Sensitivity:<5 pg/ml	Range:1500 - 23.4 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-2 		Rat - ELISA Kit - 1 plate - 96 tests	EK1507-A		£	289
Sensitivity:9.6 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-2 		Rat - ELISA Kit - 2 plates - 192 tests	EK1508-B		£	522
Sensitivity:<5 pg/ml	Range:1500 - 23.4 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-2 		Monkey - ELISA Kit - 1 plate - 96 tests	EK1478-A		£	344
Sensitivity:<2 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-2		Monkey - ELISA Kit - 1 plate - 96 tests	EK1479-A		£	289
Sensitivity:9.9 U/ml	Range:1250 - 19.5 U/ml	Incub.Time:3.25 h	Sample:100 µl

IL-2 		Monkey - ELISA Kit - 2 plates - 192 tests	EK1480-B		£	573
Sensitivity:<2 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-2R soluble						
IL-2 R soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK1500-A		£	344
Sensitivity:<0.016 ng/ml	Range:8 - 0.125 ng/ml	Incub.Time:3 h	Sample:50 µl

IL-2 R soluble 	Human - ELISA Kit - 2 plates - 192 tests	EK1501-B		£	548
Sensitivity:<0.016 ng/ml	Range:8 - 0.125 ng/ml	Incub.Time:3 h	Sample:50 µl

IL-2 R soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK9956-A		£	313
Sensitivity:0.27 ng/ml	Range:20 - 0.31 ng/ml	Incub.Time:3.25 h	Sample:50 µl

IL-2 R soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET5578-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.21 ng/ml	Range:20 - 0.31 ng/ml	Incub.Time:3.2 h	Sample:10 µl

IL-3							
IL-3 		Human - ELISA Kit - 1 plate - 96 tests	EK1549-A		£	351
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml 	Incub.Time:4 h	Sample:100 µl

IL-3 		Human - ELISA Kit - 2 plates - 192 tests 	EK1550-B		£	573
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:100 µl

IL-3		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1555-A		£	323
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:2.45 h	Sample:50 µl

IL-3 		Mouse - ELISA Kit - 2 plates - 192 tests	EK1556-B		£	522
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:2.45 h	Sample:50 µl

IL-4								
IL-4 		Human - ELISA DIRECT Kit 	EK1571-A		£	337
			1 plate - 96 tests
Sensitivity:2 pg/ml	Range:1300-10 pg/ml	Incub.Time:2.30 h	Sample:100 µl

IL-4 		Human - ELISA DIRECT Kit 	EK1572-B		£	573
			2 plates - 192 tests
Sensitivity:2 pg/ml	Range:1300-10 pg/ml	Incub.Time:2h 30h	Sample:100 µl

IL-4 		Human - ELISA Kit - 1 plate - 96 tests 	EK1575-A		£	337
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-4 		Human - ELISA Kit - 1 plate - 96 tests	EK1577-A		£	313
Sensitivity:1.3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-4 		Human - ELISA Kit - 2 plates - 192 tests	 EK1579-B		£	573
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-4 		Human - ELISA Kit - 5 plates - 480 tests	EK1574-C		£	1,056
Sensitivity:<2 pg/ml	Range:7.8-500 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-4 		Human - Ready ELISA - 1 plate - 128 tests	ET5571-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.6 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-4 Sensitivity+ 	Human - ELISA Kit - 2 plates - 192 tests	EK1632-B		£	525
Sensitivity:<0.27 pg/ml	Range25 - :0.39 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IL-4 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1597-A		£	323
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-4 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1598-A		£	289
Sensitivity:1.98 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-4 		Mouse - ELISA Kit - 2 plates - 192 tests	EK1599-B		£	522
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-4 		Mouse - ELISA Kit - 5 plates - 480 tests 	EK1600-C		£	1,014
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-4 		Mouse - Ready ELISA - 1 plate - 128 tests 	ET1601-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:1.5 pg/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-4 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1613-A		£	309
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-4 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1614-A		£	289
Sensitivity:0.2 pg/ml	Range:100 - 1.6 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-4 		Rat - ELISA Kit - 2 plates - 192 tests 	EK1615-B		£	556
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-4 		Monkey - ELISA Kit - 1 plate - 96 tests	EK1590-A		£	344
sensitivity:<5 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-4 		Monkey - ELISA Kit - 2 plates - 192 tests	EK1591-B		£	573
Sensitivity:<5 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-4 		Porcine - ELISA Kit - 1  plates - 96 tests 	EK1622-A		£  330
Sensitivity:2 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-4 		Porcine - ELISA Kit - 2 plates - 192 tests 	EK1623-B		£  556
Sensitivity:2 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-4 		Porcine - ELISA Kit - 1 plate - 96 tests	EK1622-A		£	330
Sensitivity:2 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-5								
IL-5 		Human - ELISA Kit - 1 plate - 96 tests 	EK1637-A		£	358
Sensitivity:<4 pg/ml	Range:750 - 11.7 pg/ml	Incub.Time:3.30h	Sample:100 µl

IL-5 		Human - ELISA Kit - 1 plate - 96 tests 	EK1638-A		£	313
Sensitivity:1.45 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-5 		Human - ELISA Kit - 2 plates - 192 tests	EK1640-B		£	573
Sensitivity:<4 pg/ml	Range:750 - 11.7 pg/ml	Incub.Time:3 h 30m	Sample:100 µl

IL-5 		Human - Ready ELISA - 1 plate - 128 tests 	ET5582-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:1.45 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-5 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1650-A		£	323
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-5 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1651-A		£	289
Sensitivity:3.3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-5	 	Mouse - ELISA Kit - 2 plates - 192 tests 	EK1652-B		£	522
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-6								
IL-6 		Human - ELISA DIRECT Kit  	EK1669-A		£	351
			1 plate - 96 tests	
Sensitivity:2 pg/ml	Range:1540-15 pg/ml 	Incub.Time:2.15 h	Sample:100 µl

IL-6 		Human - ELISA DIRECT Kit  	EK1670-B		£	573
			2 plates - 192 tests
Sensitivity:2 pg/ml	Range:1540-15 pg/ml	Incub.Time:2.15 h	Sample:100 µl

IL-6 		Human - ELISA Kit - 1 plate - 96 tests 	EK1672-A		£	351
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-6 		Human - ELISA Kit - 2 plates - 192 tests 	EK1676-B		£	573
Sensitivity :<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-6 		Human - ELISA Kit - 1 plate - 96 tests 	EK1673-A		£	313
Sensitivity:0.92 pg/ml	Range:100 - 1.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-6 		Human - ELISA Kit - 5 plates - 480 tests	EK1677-C		£	1,091
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h

IL-6 		Human - Ready ELISA - 1 plate - 128 tests	ET5509-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.92 pg/ml	Range:100 - 1.6 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-6 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1702-A		£	323
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IL-6 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1703-A		£	289
Sensitivity:1.9 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-6 		Mouse - ELISA Kit - 2 plates - 192 tests 	EK1704-B		£	430
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h 30m	Sample:100 µl

IL-6 		Mouse - ELISA Kit - 5 plates - 480 tests 	EK1705-C		£	1,014
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IL-6 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1717-A		£	309
Sensitivity:<8 pg/ml	Range: 2000 - 31.2- pg/ml 	Incub.Time:4 h	Sample:50 µl

IL-6 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1718-A		£	289
Sensitivity:12.0 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-6 		Rat - ELISA Kit - 2 plates - 192 tests	EK1719-B		£	458
Sensitivity:<8 pg/ml	Range: 2000 - 31.2- pg/ml	Incub.Time:4 h	Sample:50 µl

IL-6 		Rat - ELISA Kit - 5 plates - 480 tests 	EK1720-C		£	1,056
Sensitivity:<8 pg/ml	Range: 2000 - 31.2- pg/ml	Incub.Time:4 h	Sample:50 µl

IL-6 		Monkey - ELISA Kit - 1 plate - 96 tests	EK1690-A		£	289
Sensitivity:1.25 U/ml	Range:120 - 1.9 U/ml	Incub.Time:3.25 h	Sample:50 µl

IL-6		Monkey - Ready ELISA - 1 plate - 128 tests	ET1692-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:1.5 U/ml	Range:120 - 1.9 U/ml	Incub.Time:3.2 h	Sample:50 µl
	
sIL-6 R								
IL-6 R soluble 	Human - ELISA Kit - 1 plate - 96 tests 	EK1714-A		£	344
Sensitivity:<8 pg/ml	Range: 4000 - 62.5 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-6 R soluble 	Human - Ready ELISA - 1 plate - 128 tests 	ET5511-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.01 ng/ml	Range:5 - 0.08 ng/ml	Incub.Time:3.2 h	Sample:20 µl (1:50 prediluted)

IL-6 R soluble 	Human - ELISA Kit - 1 plate - 96 tests 	EK2801-A		£	313
Sensitivity:0.01 ng/ml	Range:5 - 0.08 ng/ml	Incub.Time:2.25 h	Sample:20 µl (1:50 prediluted)

IL-6 Sensitivity+ 	Human - ELISA Kit - 2 plates - 192 tests	EK1735-B		£	616
Sensitivity:0.104 pg/ml	Range10 - :0.16 pg/ml	Incub.Time:5 h	Sample:100 µl
	
IL-7								
IL-7 		Human - ELISA Kit - 1 plate - 96 tests	EK1746-A		£	323
Sensitivity:<9 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4.5 h	Sample:100 µl

IL-7 		Human - ELISA Kit - 2 plates - 192 tests	EK1747-B		£	548
Sensitivity:<9 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4.5 h	Sample:100 µl

IL-7 		Human - Ready ELISA - 160 tests 	ET1748-A		£	345
Sensitivity:9.5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-8								
IL-8 		Human - ELISA DIRECT Kit 	EK1776-A		£	351
			1 plate - 96 tests
Sensitivity:0.7 pg/ml	Range:750 – 7.0 pg/ml	Incub.Time:2.30 h	Sample:100 µl
IL-8 		Human - ELISA DIRECT Kit -	EK1777-B		£	573
			2 plates - 192 tests
Sensitivity:0.7 pg/ml	Range:750 – 7.0 pg/ml	Incub.Time:2.30 h	Sample:100 µl

IL-8 Sensitivity+ 	Human - ELISA Kit - 2 plates - 192 tests 	EK1798-B		£	525
Sensitivity:<0.1 pg/ml	Range:25 - 0.39 pg/ml	Incub.Time:4 h	Sample:100 µl

IL-8 		Human - ELISA Kit - 1 plate - 96 tests 	EK1779-A		£	351
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.30 h	Sample:50 µl
IL-8 		Human - ELISA Kit - 2 plates - 192 tests 	EK1781-B		£	573
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.30 h	Sample:50 µl

IL-8 		Human - ELISA Kit - 5 plates - 480 tests 	EK1782-C		£	1,091
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.30 h	Sample:50 µl

IL-8 		Human - Ready ELISA - 1 plate - 128 tests 	ET5532-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:1.3 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.25 h	Sample:50 µl

IL-8 		Monkey - ELISA Kit - 1 plate - 96 tests	EK8456-A		£	289
Sensitivity:2.5 U/ml	Range:1250 - 19.5 U/ml	Incub.Time:2.10 h	Sample:50 µl

IL-8 		Monkey - Ready ELISA - 1 plate - 128 tests 	ET9945-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:1.5 U/ml	Range:1250 - 19.5 U/ml	Incub.Time:2.45 h	Sample:50 µl

IL-8		Porcine - ELISA Kit - 1 plate - 96 tests	EK1793-A		£	323
Sensitivity:<10 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-8 		Porcine - ELISA Kit - 2 plates - 192 tests 	EK1794-B		£	556
Sensitivity:<10 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-10										
IL-10 		Human - ELISA DIRECT Kit 	EK1223-A		£	309
			1 plate - 96 tests
Sensitivity:<1 pg/ml	Range1335 - :11 pg/ml	Incub.Time:4.5 h	Sample:100 µl

IL-10 		Human - ELISA DIRECT Kit 		EK1224-B	£	573
		2 plates - 192 tests
Sensitivity:<1 pg/ml	Range1335 - :11 pg/ml	Incub.Time:4.5 h	Sample:100 µl

IL-10 		Human - ELISA Kit - 1 plate - 96 tests 	EK1226-A		£	309
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:5 h	Sample:50 µl

IL-10 		Human - ELISA Kit - 2 plates - 192 tests	EK1229-B		£	573
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:5 h	Sample:50 µl

IL-10 		Human - ELISA Kit - 5 plates - 480 tests 	EK1230-C		£	1,091
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:5 h	Sample:50 µl

IL-10 		Human - ELISA Kit - 1 plate - 96 tests 	EK1227-A		£	313
Sensitivity:0.99 pg/ml	Range:200 - 3.2 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-10 		Human - Ready ELISA - 1 plate - 128 tests	ET5521-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.66 pg/ml	Range:200 - 3.2 pg/ml	Incub.Time:3.20 h	Sample:50 µl

IL-10 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1252-A		£	323
Sensitivity:<13 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:3.20 h	Sample:100 µl

IL-10 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1253-A		£	289
Sensitivity:14.5 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:3.20 h	Sample:50 µl

IL-10 		Mouse - ELISA Kit - 2 plates - 192 tests 	EK1254-B		£	522
Sensitivity:<13 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:3.20 h	Sample:100 µl

IL-10 		Mouse - ELISA Kit - 5 plates - 480 tests 	EK1255-C		£	1,091
Sensitivity:<13 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:3.20 h	Sample:100 µl

IL-10 		Mouse - Ready ELISA - 1 plate - 128 tests	ET1256-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:5.3 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-10 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1265-A		£	323
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-10 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1266-A		£	289
Sensitivity:1.5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-10 		Rat - ELISA Kit - 2 plates - 192 tests 	EK1267-B		£	522
Sensitivity:<5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-10 		Monkey - ELISA Kit - 1 plate - 96 tests 	EK1241-A		£	344
Sensitivity:<10 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:4 h	Sample:100 µl

IL-10 		Monkey - ELISA Kit - 1 plate - 96 tests	EK1242-A		£	289
Sensitivity:1.32 U/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-10 		Monkey - ELISA Kit - 2 plates - 192 tests	EK1244-B		£	573
Sensitivity:<10 pg/ml	Range:2000 - 31.2 pg/ml 	Incub.Time:4 h	Sample:100 µl

IL-10 		Monkey - Ready ELISA - 1 plate - 128 tests	ET1245-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:1.32 U/ml	Range:250 - 3.9 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IL-10 		Porcine - ELISA Kit - 1 plate - 96 tests	EK1272-A		£	330
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-10 		Porcine - ELISA Kit - 2 plates - 192 tests 	EK1273-B		£	556
Sensitivity:<3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-12								
IL-12 (p70=p40+p35) 	Human - ELISA Kit - 1 plate - 96 tests 	EK1291-A		£	313
Sensitivity:2.1 pg/ml	Range:200 - 3.2 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-12 p70 		Human - ELISA Kit - 1 plate - 96 tests	EK1123-A		£	289
Sensitivity:1.6 U/ml	Range:250 - 3.9 U/ml	Incub.Time:3.25 h	Sample:50 µl

IL-12 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1317-A		£	289
Sensitivity:2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:50 µl

IL-12 p70 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK1332-A		£	289
Sensitivity:10.0 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

IL-12 		Monkey - ELISA Kit - 1 plate - 96 tests 	EK1308-A		£	344
Sensitivity:<4 pg/ml	Range:750 - 11.7 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-12 		Monkey - ELISA Kit - 2 plates - 192 tests 	EK1309-B		£	573
Sensitivity:<4 pg/ml	Range:750 - 11.7 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-12 total (p40+p70) 	Monkey - ELISA Kit - 1 plate - 96 tests 	EK1345-A		£	289
Sensitivity:<2.64U/ml	Range:2500 - 39.1 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IL-13								
IL-13 		Human - ELISA Kit - 1 plate - 96 tests	EK1354-A		£	309
Sensitivity:<12 pg/ml	Range:2500 - 39.1 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-13 		Human - ELISA Kit - 1 plate - 96 tests	EK1355-A		£	313
Sensitivity:0.73 pg/ml	Range:100 - 1.6 pg/ml	Incub.Time:2.25 h	Sample:50 µl

IL-13 		Human - ELISA Kit - 2 plates - 192 tests 	EK1356-B		£	548
Sensitivity:<12 pg/ml	Range:2500 - 39.1 pg/ml	Incub.Time:3 h	Sample:100 µl

IL-13 		Human - Ready ELISA - 1 plate - 128 tests	ET4967-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.99 pg/ml	Range:100 - 1.6 pg/ml	Incub.Time:3.20 h	Sample:50 µl

IL-13 		Mouse - ELISA Kit - 2 plates - 192 tests	EK1366-B		£	445
Sensitivity:<1.5 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:25 µl

IL-13 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1374-A		£	330
Sensitivity:<1.5 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:25 µl

IL-13 		Rat - ELISA Kit - 2 plates - 192 tests	EK1375-B		£	522
Sensitivity:<1.5 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:25 µl

IL-15								
IL-15 		Human - ELISA Kit - 1 plate - 96 tests 	EK1387-A		£	337
Sensitivity:<11 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:2 h	Sample:50 µl

IL-16								
IL-16 		Human - ELISA Kit - 1 plate - 96 tests 	EK1397-A		£	358
Sensitivity:<5 pg/ml	Range1500 - 23.4 pg/ml	Incub.Time:4 h	Sample:50 µl

IL-16 		Human - ELISA Kit - 2 plates - 192 tests	EK1399-B		£	573
Sensitivity:<5 pg/ml	Range1500 - 23.4 pg/ml	Incub.Time:4 h	Sample:50 µl
IL-17								
IL-17 		Human - ELISA DIRECT Kit 	EK1403-A		£	358
			1 plate - 96 tests
Sensitivity:9 pg/ml	Range:1000-15 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IL-17		Human - ELISA DIRECT Kit -	EK1404-B		£	573
			2 plates - 192 tests
Sensitivity:9 pg/ml	Range:1000-15 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IL-17 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1406-A		£	289
Sensitivity:1.6 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

Insulin								
Insulin 		Human - ELISA Kit - 1 plate - 96 tests	EK1805-A		£	372
Sensitivity:0.15 µIU/ml	Range:500-5 µIU/ml	Incub.Time:45 m	Sample:50 µl

Insulin 		Human - Ready ELISA - 1 plate - 128 tests 	ET1806-A		£	350
			Includes 4 x 8  well standard curves
Sensitivity:16.6 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:1.2 h	Sample:50 µl

IFN alpha	(Interferon alpha)						
IFN alpha 		Human - ELISA Kit - 1 plate - 96 tests	EK2638-A		£	313
Sensitivity:1.38 ng/ml	Range:200 - 3.2 ng/ml	Incub.Time:3.2 h	Sample:20 µl

IFN alpha 		Human - ELISA Kit - 1 plate - 96 tests	EK1824-A		£	313
Sensitivity:3.16 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:2.25 h	Sample:20 µl

IFN alpha 		Human - Ready ELISA - 1 plate - 128 tests 	ET1827-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:3.3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:2.1 h	Sample:20 µl

IFN gamma (Interferon gamma)							
IFN gamma 		Human - ELISA DIRECT Kit 	EK1854-A		£	309
			1 plate - 96 tests
Sensitivity:0.03 IU/ml	Range:30 - 1.0 IU/ml	Incub.Time:2.15 h	Sample:50 µl

IFN gamma 		Human - ELISA DIRECT Kit 	EK1855-B		£	573
			2 plates - 192 tests
Sensitivity:0.03 IU/ml	Range:30 - 1.0 IU/ml	Incub.Time:2.15 h	Sample:50 µl
IFN gamma 		Human - ELISA Kit - 1 plate - 96 tests	EK1857-A		£	309
Sensitivity:<4 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.45 h	Sample:50 µl

IFN gamma 		Human - ELISA Kit - 1 plate - 96 tests 	EK1858-A		£	313
Sensitivity:0.99 pg/ml	Range:100 - 1.6 ng/ml	Incub.Time:3.25 h	Sample:50 µl

IFN gamma 		Human - ELISA Kit - 2 plates - 192 tests	EK1861-B		£	548
Sensitivity:<4 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.45 h	Sample:50 µl

IFN gamma		Human - ELISA Kit - 5 plates - 480 tests	EK1862-C		£	1,091
Sensitivity:<4 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.45 h	Sample:50 µl

IFN gamma 		Human - Ready ELISA - 1 plate - 128 tests	ET5565-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.66 pg/ml	Range:100 - 1.6 ng/ml	Incub.Time:3.2 h	Sample:50 µl

IFN gamma 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1880-A		£	289
Sensitivity:5.3 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.20 h	Sample:50 µl

IFN gamma) 	Mouse - ELISA Kit - 2 plates - 192 tests	EK1881-B		£	522
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IFN gamma 		Mouse - ELISA Kit - 5 plates - 480 tests	EK1882-C		£	1,014
Sensitivity:< 1pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.30 h	Sample:100 µl

IFN gamma 		Mouse - Ready ELISA - 1 plate - 128 tests 	ET1883-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:4.0 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.2 h	Sample:50 µl

IFN gamma 		Mouse - ELISA Kit - 1 plate - 96 tests	EK1879-A		£	311
Sensitivity:<1 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.30h	Sample:100 µl

IFN gamma 		Rat - ELISA Kit - 1 plate - 96 tests	EK1896-A		£	289
Sensitivity:9.9 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:50 µl
IFN gamma 		Rat - ELISA Kit - 1 plate - 96 tests 	EK1895-A		£	309
Sensitivity:<13 pg/ml	Range:1400 - 21.8 pg/ml	Incub.Time:4 h	Sample:100 µl

IFN gamma 		Rat - ELISA Kit - 2 plates - 192 tests	EK1897-B		£	451
Sensitivity:<13 pg/ml	Range:1400 - 21.8 pg/ml	Incub.Time:4 h	Sample:100 µl

IFN gamma 		Rat - ELISA Kit - 5 plates - 480 tests	EK1898-C		£	1,014
Sensitivity:<13 pg/ml	Range:1400 - 21.8 pg/ml	Incub.Time:4 h	Sample:100 µl

IFN gamma		Monkey - ELISA Kit - 1 plate - 96 tests	EK1872-A		£	344
Sensitivity:<4 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µ

IFN gamma 		Monkey - ELISA Kit - 2 plates - 192 tests	EK1873-B		£	573
Sensitivity:<4 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl
IFN gamma 	Porcine - ELISA Kit - 1 plate - 96 tests 	EK1906-A	£	330
Sensitivity:<2pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:50 µl

IFN gamma 		Porcine - ELISA Kit - 1 plate - 96 tests	EK1907-A		£	289
Sensitivity:3.3 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:2.45 h	Sample:50 µl
IFN gamma 		Porcine - ELISA Kit - 2 plates - 192 tests	EK1908-B		£	556
Sensitivity:<2pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3 h	Sample:50 µl

IFN gamma 		Bovine Qualitative Tests Interferon 	EK429-A		£	262
Semi-quantitative only			Incub.Time:2.15 h	Sample:1100 µl

IFN gamma 		Bovine Qualitative Tests Interferon 	EK430-B		£	372
Semi-quantitative only			Incub.Time:2.15 h	Sample:1100 µl

IFN Omega (Interferon Omega)							
IFN omega 		Human - ELISA Kit		 EK1919-A		£	313
Sensitivity:1.51 pg/ml	Range:300 - 4.7 pg/ml	Incub.Time:3.2 h	Sample:25 µl

IP-10								
IP-10 		Human - ELISA DIRECT Kit 	EK1929-A		£	358
			1 plate - 96 tests
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IP-10 		Human - ELISA DIRECT Kit 	EK1930-B		£	573
			2 plates - 192 tests	
Sensitivity:<2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

IP-10 		Human - Ready ELISA - 1 plate - 128 tests 	ET1931-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:1.0 pg/ml	Range:200 - 3.2 pg/ml	Incub.Time:3.25 h	Sample:10 µl

Leptin								
Leptin 		Human - ELISA DIRECT Kit 	EK1987-A		£	358
			1 plate - 96 tests
Sensitivity:<3.5 pg/ml	Range:1000 - 15.6 pg/ml 	Incub.Time:3 h	Sample:10 µl (1:100)

Leptin 		Human - ELISA DIRECT Kit	EK1988-B		£	551
			2 plates - 192 tests
Sensitivity:<3.5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:10 µl (1:100)
	
LIF							
LIF 		Human - ELISA Kit - 1 plate - 96 tests	EK1991-A		£	313
Sensitivity:0.66 pg/ml	Range:200 - 3.2 pg/ml	Incub.Time:3.45 h	Sample:50 µl

LIF R (gp190) soluble 	Human - ELISA Kit - 1 plate - 96 tests 	EK2805-A		£	313
Sensitivity:0.052 ng/ml	Range:5 - 0.08 ng/ml	Incub.Time:3.25 h	Sample:25 µl
LIF-HILDA 		Human - ELISA DIRECT Kit 	EK1997-A		£	358
			1 plate - 96 tests
Sensitivity:20 pg/ml	Range:3500-300 pg/ml	Incub.Time:4.5 h	Sample:100 µl

LIF-HILDA 		Human - ELISA DIRECT Kit 	EK1998-B		£	573
			2 plates - 192 tests
Sensitivity:20 pg/ml	Range:3500-300 pg/ml	Incub.Time:4.5 h	Sample:100 µl

LIGHT		
LIGHT 		Human - ELISA Kit - 1 plate - 96 tests	EK1999-A		£	310
Sensitivity:6.0 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4.30 h	Sample:50 µl

LH (Lutinizing Hormone)						
LH 		Human - ELISA Kit - 1 plate - 96 tests	EK2003-A		£	386
Sensitivity:0.1 mIU/ml	Range:150 – 1.0 mIU/ml	Incub.Time:45 m	Sample:50 µl

Mac-2BP								
Mac-2BP 90K soluble 	Human - ELISA Kit - 1 plate - 96 tests 	EK2654-A		£	313
Sensitivity:0.92 ng/ml	Range:200 - 12.5 ng/ml	Incub.Time:1.75 h	Sample:100 (1:100 prediluted)

MCP-1										
MCP-1 		Human - ELISA Kit - 1 plate - 96 tests	EK2013-A		£	316
Sensitivity:<20 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:3 h	Sample:50 µl

MCP-1 		Human - ELISA Kit - 1 plate - 96 tests	EK2014-A		£	313
Sensitivity:2.3 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.25 h	Sample:20 µl

MCP-1		Human - ELISA Kit - 2 plates - 192 tests 	EK2037-B		£	467
Sensitivity:<20 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:3 h	Sample:50 µl
MCP-1 		Human - Ready ELISA - 1 plate - 128 tests	ET5500-A 	£	345
		Includes 4 x 8  well standard curves
Sensitivity:2.3 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.2 h	Sample:20 µl

MCP-1 		Mouse - ELISA Kit - 1 plate - 96 tests	EK2026-A		£	270

MCP-1 		Mouse - ELISA Kit - 1 plate - 96 tests	EK2025-A		£	323
Sensitivity:<9 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:2.30 h	Sample:100 µl

MCP-1 		Mouse - ELISA Kit - 2 plates - 192 tests	EK2028-B		£	522
Sensitivity:<9 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:2.30 h	Sample:100 µl

MCP-1 		Rat - ELISA Kit - 1 plate - 96 tests	EK2031-A 		£	330
Sensitivity:<8 pg/ml	Range:750 - 11.7 pg/ml	Incub.Time:2.30 h	Sample:50 µl

MCP-1 		Rat - ELISA Kit - 2 plates - 192 tests	EK2032-B		£	556
Sensitivity:<8 pg/ml	Range:750 - 11.7 pg/ml	Incub.Time:2.30 h	Sample:50 µl
MCP-1 		Rat - Ready ELISA - 1 plate - 128 tests 	ET2033-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:4.7 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.20 h	Sample:50 µl (1:25 prediluted)	
MCP-3						
MCP-3 		Mouse - Ready ELISA - 1 plate - 128 tests	ET2046-A	£	316
		Includes 4 x 8  well standard curves
Sensitivity:2.6 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.20 h	Sample:50 µl

MCP-5								
MCP-5 		Mouse - Ready ELISA - 1 plate - 128 tests	ET2049-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:2.3 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.20 h	Sample:50 µl

M-CSF								
M-CSF 		Human - ELISA Kit - 1 plate - 96 tests	EK2051-A		£	344
Sensitivity:5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:10 µl

M-CSF 		Human - ELISA Kit - 2 plates - 192 tests 	EK2052-B		£	573
Sensitivity:5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3 h	Sample:10 µl

Metanephrine							
Metanephrine (plasma)	Human - ELISA Kit - 1 plate - 96 tests	EK2072-A		£	386
Sensitivity:7.5 ng/ml	Range:1500 - 15 pg/ml 	Incub.Time:40 h	Sample:500 µl

Metanephrine (urine)	Human - ELISA Kit - 1 plate - 96 tests	EK2073-A	£	386
Sensitivity:7.5 ng/ml	Range:1500 - 15 pg/ml	Incub.Time:2.5 h	Sample:10 µl

MIG (CXCL9)							
MIG		Human - ELISA DIRECT Kit  	EK2086-A		£	358
			1 plate - 96 tests
Sensitivity:<4.6pg/ml	Range:1000-15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

MIG		Human - ELISA DIRECT Kit -	EK2087-B		£	556
		2 plates - 192 tests	
Sensitivity:<4.6pg/ml	Range:1000-15.6 pg/ml	Incub.Time:4 h	Sample:50 µl
				
MIG 	Human - Ready ELISA - 1 plate - 128 tests	ET2076-A 	£	345
		Includes 4 x 8  well standard curves
Sensitivity:4.0 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:50 µl

MIP-1 alpha							
MIP-1 alpha 		Human - ELISA DIRECT Kit 	EK2091-A		£	354
		1 plate - 96 tests				
Sensitivity:<2 pg/ml	Range:1000-15.6 pg/ml 	Incub.Time:3 h	Sample:50 µl

MIP-1 alpha 		Human - ELISA DIRECT Kit  	EK2092-B		£	573
		2 plates - 192 tests 
Sensitivity:<2 pg/ml	Range:1000-15.6 pg/ml	Incub.Time:3 h	Sample:50 µl
MIP-1 alpha 		Human - Ready ELISA - 1 plate - 128 tests 	ET2093-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:6.0 pg/ml	Range:1000-15.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

MIP-1a 		Mouse - ELISA Kit - 2 plates - 192 tests 	EK2112-B		£	445
Sensitivity:<0.96 pg/ml	Range:250 - 3.9pg/ml	Incub.Time:4 h	Sample:100 µl

MIP-1 beta							
MIP-1 beta 		Human - ELISA DIRECT Kit 	EK2103-A		£	354	
		1 plate - 96 tests 
Sensitivity:2 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

MIP-1 beta 		Human - ELISA DIRECT Kit 	EK2104-B		£	547
		2 plates - 192 tests
Sensitivity:2 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

MIP-1 beta 		Human - Ready ELISA - 1 plate - 128 tests 	ET2105-A		£	345
			Includes 4 x 8  well standard curves	
Sensitivity:3.0 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

MIP-1b CCL4 	Mouse - ELISA Kit - 1 plate - 96 tests 	EK2126-A		£	339
Sensitivity2.0 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

MIP-1b CCL4 	Mouse - ELISA Kit - 2 plates - 192 tests	EK2127-B		£	522
Sensitivity2.0 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

MIP-2								
MIP-2 		Rat - ELISA Kit - 1 plate - 96 tests	EK2133-A		£	330
Sensitivity:<1 pg/ml	Range:640 -10 pg/ml	Incub.Time:3.30 h	Sample:50 µl

MIP-2 		Rat - ELISA Kit - 2 plates - 192 tests 	EK2134-B		£	556
Sensitivity:<1 pg/ml	Range:640 -10 pg/ml	Incub.Time:3.30 h	Sample:50 µl

MMP-3										
MMP-3 		Human - ELISA DIRECT Kit	EK2157-A		£	308
		1 plate - 96 tests
Sensitivity:0.1 ng/ml	Range:20 – 0.62 ng/ml	Incub.Time:3 h	Sample:50 µl

MMP-3 		Human - ELISA DIRECT Kit 		EK2158-	B	£	502
		2 plates - 192 tests 
Sensitivity:0.1 ng/ml	Range:20 – 0.62 ng/ml	Incub.Time:3 h	Sample:50 µl

MMP-3 		Human - Ready ELISA - 1 plate - 128 tests 	ET2159-A	£	350
		Includes 4 x 8  well standard curves
Sensitivity:0.3 ng/ml	Range:50 - 0.78 ng/ml	Incub.Time:3.25 h	Sample:20 µl
			
MMP-13								
MMP-13 		Human - ELISA Kit - 1 plate - 96 tests	EK2155-A		£	313
Sensitivity:0.18 ng/ml	Range:20 - 0.31 ng/ml	Incub.Time:3.25 h	Sample:50 µl

Noradrenaline						
Noradrenaline 	Human - ELISA Kit - 1 plate - 96 tests 	EK2285-A		£	456
Sensitivity:2.5 pg/ml	Range:1280 – 5.0 pg/ml	Incub.Time:1.30 h	Sample:1-100 µl

Normetanephrine						
Normetanephrine 	Human - ELISA Kit - 1 plate - 96 tests 	EK2287-A		£	386
(Plasma)
Sensitivity:10.0 pg/ml	Range:6000 - 30 pg/ml	Incub.Time:.40 h	Sample:500 µl

Normetanephrine 	Human - ELISA Kit - 1 plate - 96 tests	EK2288-A		£	386
(Urine)
Sensitivity:7.5ng/ml	Range:1500 - 15 ng/ml	Incub.Time:.2.30 h	Sample:10 µl
	
Osteocalcin							
Osteocalcin 		Human - ELISA Kit - 1 plate - 96 tests 	EK2295-A		£	386
Sensitivity:0.4 ng/ml	Range:90 - 2.0 ng/ml	Incub.Time:2.30 h	Sample:25 µl

Osteocalcin 		Human - Ready ELISA - 1 plate - 128 tests 	ET2297-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.2 ng/ml	Range:75 -1.2 ng/ml	Incub.Time:2.25 h	Sample:25 µl
	
Osteoprotegrin							
Osteoprotegrin 	Human - Ready ELISA - 1 plate - 128 tests 	ET2298-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:2.5 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.2 h	Sample:50 µl

OX-40								
OX-40 		Human - ELISA Kit - 1 plate - 96 tests	EK2300-A		£	313
Sensitivity:1.8 pg/ml	Range:5000 - 78 pg/ml	Incub.Time:3.25 h	Sample:25 µl
	
p53								
p53 		Human - ELISA Kit - 1 plate - 96 tests	EK2316-A 		£	313
Sensitivity:0.33 U/ml	Range:50 - 0.8 U/ml	Incub.Time:3.25 h	Sample:50 µl

Parathyroid Hormone						
Parathyroid Hormone 	Human - ELISA Kit - 1 plate - 96 tests	EK2326-A		£	372
Sensitivity:2 pg/ml	Range:1200 - 15 pg/ml	Incub.Time:3 h	Sample:50 µl

PECAM-1								
PECAM-1 soluble 	Human - ELISA Kit - 1 plate - 96 tests 	EK2825-A		£	313
Sensitivity:0.06 ng/ml	Range:30 - 0.48 ng/ml	Incub.Time:3.25 h	Sample:10 µl
	
PECAM-1 soluble 	Human - Ready ELISA - 1 plate - 128 tests	ET2826-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.06 ng/ml	Range:30 - 0.48 ng/ml	Incub.Time:4.1 h	Sample:10 µl

PECAM-1 soluble 	Monkey - ELISA Kit - 1 plate - 96 tests	EK2829-A		£	289
Sensitivity:0.06 U/ml	Range:30 - 0.48 U/ml	Incub.Time:3.25 h	Sample:10 µl

PECAM-1 soluble 	Monkey - Ready ELISA - 1 plate - 128 tests	ET2830-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:0.06 U/ml	Range:30 - 0.48 U/ml	Incub.Time:4.10 h	Sample:10 µl
	
Progesterone							
Progesterone 	Human - ELISA Kit - 1 plate - 96 tests	EK2434-A		£	386
Sensitivity:0.08 ng/ml	Range:20 - 0.2 ng/ml	Incub.Time:3 h 30m	Sample:50 µl

Prolactin								
Prolactin 		Human - ELISA Kit - 1 plate - 96 tests	EK2437-A		£	386
Sensitivity:7.6 µIU/ml	Range:6000 - 100 µIU/ml	Incub.Time:45 m	Sample:100 µl

RANTES								
RANTES 		Human - ELISA DIRECT Kit 	EK2589-A		£	337
		1 plate - 96 tests
Sensitivity:2 pg/ml	Range:4500 - 50 pg/ml	Incub.Time:2.30 h	Sample:100 µl

RANTES 		Human - ELISA DIRECT Kit 	EK2590-B		£	573
		2 plates - 192 tests 
Sensitivity:2 pg/ml	Range:4500 - 50 pg/ml	Incub.Time:2.30 h	Sample:100 µl

RANTES 		Human - ELISA Kit - 1 plate - 96 tests	EK2592-A		£	337
Sensitivity:<3 pg/ml	Range:2000 - 31.2 pg/ml	Incub.Time:3 h	Sample:50 µl (1:50 prediluted)

RANTES 		Human - ELISA Kit - 2 plates - 192 tests	EK2593-B		£	573
Sensitivity:<3 pg/ml	Range:2000 – 31.2 pg/ml	Incub.Time:2 h	Sample:50 µl (1:50 prediluted)

RANTES 		Human - Ready ELISA - 1 plate - 128 tests 	ET8556-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:4.2 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:10 µl

RANTES 		Mouse - ELISA Kit - 1 plate - 96 tests 	EK2601-A		£	330
Sensitivity:<1.0pg/ml	Range:500-7.8 pg/ml	Incub.Time:4.0h	Sample:50 µl

RANTES 		Mouse - ELISA Kit - 2 plates - 192 tests 	EK2602-B		£	522
Sensitivity:<1.0pg/ml	Range:500-7.8 pg/ml	Incub.Time:4 h	Sample:50 µl

RANTES 		Mouse - Ready ELISA - 1 plate - 128 tests	ET2603-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:1.2 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

RANTES 		Rat - ELISA Kit - 1 plate - 96 tests 	EK2610-A		£	330
Sensitivity:<20 pg/ml	Range:2500 - 39pg/ml	Incub.Time:4 h	Sample:25 µl

RANTES 		Rat - ELISA Kit - 2 plates - 192 tests 	EK2611-B		£	556
Sensitivity:<20 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:4 h	Sample:25 µl
	
L-Selectin								
L-Selectin 		Human - ELISA Kit - 1 plate - 96 tests 	EK2002-A		£	351
Sensitivity:<0.3ng/ml	Range:25 - 0.4 ng/ml	Incub.Time:2.25 h	Sample:50 µl

L-Selectin soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2809-A		£	313
Sensitivity:0.19 ng/ml	Range:25 - 0.39 ng/ml	Incub.Time:2.25 h	Sample:50 µl (1:100 prediluted)

L-selectin soluble 	Human - Ready ELISA - 1 plate - 128 tests	ET5588-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.19 ng/ml	Range:25 - 0.39 ng/ml	Incub.Time:2.25 h	Sample:50 µl (1:100 prediluted)

PSGL-1 (P-selectin glycoprotein ligand-1)						
PSGL-1 soluble	 Human  PSGL- 1 ELISA Kit 	EK2844-A		£	313
Sensitivity:0.99 U/ml	Range:50 - 1.6 U/ml	Incub.Time:3.25 h	Sample:100 µl (1:20 prediluted)

Selectin E 	(E selectin)						
Selectin E soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2743-A	£	313
Sensitivity:0.33 ng/ml	Range:50 - 0.8 ng/ml	Incub.Time:2.25 h	Sample:20 µl

Selectin E soluble 	Human - Ready ELISA - 1 plate - 128 tests	ET5566-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.33 ng/ml	Range:50 - 0.8 ng/ml	Incub.Time:3.25 h	Sample:20 µl

Selectin E  soluble 	Monkey - ELISA Kit - 1 plate - 96 tests 	EK2756-A		£	289
Sensitivity:0.39 U/ml	Range:60 - 0.94 U/ml	Incub.Time:2.25 h	Sample:20 µl

Selectin E  soluble 	Monkey - Ready ELISA - 1 plate - 128 tests	ET2757-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:0.39 U/ml	Range:60 - 0.94 U/ml	Incub.Time:3.25 h	Sample:20 µl

Selectin P (P selectin)						
Selectin P  		Human - ELISA Kit - 1 plate - 96 tests	EK2443-A		£	337
Sensitivity:<0.5ng/ml	Range:50 – 0.8 ng/ml	Incub.Time:2.25 h	Sample:10 µl
Selectin P  soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2833-A 		£	313
Sensitivity:1.6 ng/ml	Range:140 - 2.19 ng/ml	Incub.Time:2.25 h	Sample:10 µl

Selectin P soluble 	Human - Ready ELISA - 1 plate - 128 tests	ET5508-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.85 ng/ml	Range:140 - 2.19 ng/ml	Incub.Time:2.25 h 	Sample:10 µl

Selectin P  soluble	Monkey - ELISA Kit - 1 plate - 96 tests 	EK2841-A		£	289
Sensitivity:1.1 U/ml	Range:150 - 2.3 U/ml	Incub.Time:2.25 h	Sample:10 µl

Selectin P soluble 	Monkey - Ready ELISA - 1 plate - 128 tests	ET2842-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:2.0 U/ml	Range:150 - 2.3 U/ml	Incub.Time:2.25 h	Sample:10 µl

Serotonin								
Serotonin 		Human - ELISA Kit - 1 plate - 96 tests	EK2745-A		£	386
Sensitivity:0.3 ng/ml	Range:2500 - 15ng/ml	Incub.Time:2.30 h	Sample:100 µl

SAA  (Serum Amyloid)							
SAA 		Human - ELISA Kit - 2 plates - 192 tests	EK2658-B		£	556
Sensitivity:5 ng/ml	Range:300 – 18.75 ng/ml	Incub.Time:2 h	Sample:50 µl

SAA 		Multispecies Serum Amyloid	EK2659-B		£	548
	quantification A - ELISA Kit - 2 plates - 192 tests 
Bovine - Sensitivity:0.3 ug/ml	Range:150 – 9.2ug/ml	Incub.Time:2 h	Sample:50 µl
Canine - Sensitivity:0.15 ug/ml	Range:80 – 5ug/ml
Porcine - Sensitivity:1.9 ug/ml	Range:1000 – 2.5ug/ml
	
SOD CuZn							
SOD CuZn 		Human - ELISA Kit - 1 plate - 96 tests 	EK673-A		£	313
Sensitivity:0.04 ng/ml	Range:5 - 0.08 ng/ml	Incub.Time:1.2 h	Sample:10 µl (1:20 prediluted)
	
Testosterone							
Testosterone 	Human - ELISA Kit - 1 plate - 96 tests 	EK2912-A		£	372
Sensitivity:0.05 ng/ml	Range:15 – 0.10 ng/ml	Incub.Time:2.30  h	Sample:50 µl
	
TGF β 							
TGF β 1 		Human - ELISA Kit - 1 plate - 96 tests 	EK2916-A		£	313
Sensitivity:23.8 pg/ml	Range:30 - 0.47 ng/ml	Incub.Time:4.1 h	Sample:100 µl (pretreated)

TGF β 1 		Human - Ready ELISA - 1 plate - 128 tests	ET5569-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.01 ng/ml	Range:30 - 0.47 ng/ml	Incub.Time:4.1 h	Sample:100 µl (pretreated)
TGF β 1 		Mouse - ELISA Kit - 1 plate - 96 tests	EK2922-A		£	289
Sensitivity:48 pg/ml	Range:30 - 0.47 ng/ml	Incub.Time:4.1 h	Sample:100 µl (pretreated)
TGF β 1 		Rat - ELISA Kit - 1 plate - 96 tests	EK2923-A		£	289
Sensitivity:48 pg/ml	Range:30 - 0.47 ng/ml	Incub.Time:4.1 h	Sample:100 µl (pretreated)

TGF β 2 		Human - ELISA Kit - 1 plate - 96 tests	EK2924-A		£	313
Sensitivity:6.6 pg/ml	Range:1000 - 31.3 pg/ml	Incub.Time:5.30 h	Sample:100 µl (1:100 prediluted)

TGF β		Human - ELISA DIRECT Kit 		EK2927-A	£	358
		1 plate - 96 tests 
Sensitivity:<=15.6 pg/ml	Range: 2000  - 31.2 pg/ml	Incub.Time:4 h	Sample:100 µl

TGF β		Human - ELISA DIRECT Kit 	EK2928-B		£	573
		2 plates - 192 tests 
Sensitivity:<=15.6 pg/ml	Range: 2000  - 31.2 pg/ml	Incub.Time:4 h
	
TSH (Thyroid Stimulating Hormone)						
TSH 		Human - ELISA Kit - 1 plate - 96 tests	EK2933-A		£	359
Sensitivity:0.05 µIU/ml	Range: 50 - 0.15 µIU/ml	Incub.Time:1.5 h	Sample:25 µl
	
TIMP-1								
TIMP-1 		Human - ELISA Kit - 1 plate - 96 tests	EK2935-A		£	281
Sensitivity:<1 ng/ml	Range: 25 - 1.56 ng/ml	Incub.Time:3 h	Sample:50 µl (1:20 prediluted)
TIMP-1 		Human - Ready ELISA - 1 plate - 128 tests	ET2936-A		£	350
			Includes 4 x 8  well standard curves
Sensitivity:0.03 ng/ml	Range:5 - 0.08 ng/ml	Incub.Time:3.2 h	Sample:20 µl (1:100 prediluted)

TRAIL								
TRAIL 		Human - ELISA Kit - 1 plate - 96 tests	EK3077-A		£	344
Sensitivity:<20 pg/ml	Range: 3000 - 46.8 pg/ml	Incub.Time:4 h	Sample:100 µl

TRAIL 		Human - ELISA Kit - 2 plates - 192 tests	EK3078-B		£	551
Sensitivity:<20 pg/ml	Range: 3000 - 46.8 pg/ml	Incub.Time:4 h	Sample:100 µl

TRAIL 		Human - ELISA Kit - 1 plate - 96 tests	EK4091-A		£	310
Sensitivity:5.4 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

TRANCE								
TRANCE 		Human - Ready ELISA - 1 plate - 128 tests	ET3081-A		£	350
			Includes 4 x 8  well standard curves
Sensitivity:2.2 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:50 µl

TNF alpha								
TNF alpha 		Human - ELISA DIRECT Kit 	EK2956-A		£	316
			1 plate - 96 tests
Sensitivity:3 pg/ml	Range: 1500 -15 pg/ml	Incub.Time:4.5 h	Sample:200 µl
TNF alpha 		Human - ELISA DIRECT Kit 	EK2957-B		£	573
		2 plates - 192 tests Quantitative Kit for Human TNF-alpha
Sensitivity:3 pg/ml	Range: 1500 -15 pg/ml	Incub.Time:4.5 h	Sample:200 µl
TNF alpha 		Human - ELISA Kit - 1 plate - 96 tests 	EK2959-A		£	316
Sensitivity:<1.7 pg/ml	Range: 1000 -15.6 pg/ml	Incub.Time:4 h	Sample:100 µl

TNF alpha 		Human - ELISA Kit - 2 plates - 192 tests	EK2963-B		£	573
Sensitivity:<1.7 pg/ml	Range: 1000 -15.6 pg/ml	Incub.Time:4 h	Sample:100 µl

TNF alpha 		Human - ELISA Kit - 5 plates - 480 tests	EK2964-C		£	1,091
Sensitivity:<1.7 pg/ml	Range: 1000 -15.6 pg/ml	Incub.Time:4 h	Sample:100 µl
K
TNF alpha 		Human - ELISA Kit- 1 plate - 96 tests 	EK7855-A		£	313
Sensitivity:2.3 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl

TNF alpha 		Human - Ready ELISA - 1 plate - 128 tests	ET5512-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:1.65 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.50 h	Sample:50 µl

TNF alpha Sensitivity+ 	Human - ELISA Kit - 2 plates - 192 tests	EK3021-B		£	616
Sensitivity:<0.1 pg/ml	Range:32 - 0.5 pg/ml	Incub.Time:3 h	Sample:50 µl

TNF alpha 		Mouse - ELISA Kit - 1 plate - 96 tests	EK2990-A		£	323
Sensitivity:<3 pg/ml	Range:1250 - 19.5 pg/ml	Incub.Time:2.30 h	Sample:50 µl

TNF alpha 		Mouse - ELISA Kit - 1 plate - 96 tests	EK2991-A		£	289
Sensitivity:2.97 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

TNF alpha 		Mouse - ELISA Kit - 2 plates - 192 tests	EK2992-B		£	522
Sensitivity:<3 pg/ml	Range:1250 - 19.5 pg/ml	Incub.Time:2.30 h	Sample:50 µl

TNF alpha 		Mouse - ELISA Kit - 5 plates - 480 tests	EK2993-C		£	1,014
Sensitivity:<3 pg/ml	Range:1250 - 19.5 pg/ml	Incub.Time:2.30 h	Sample:50 µl

TNF alpha 		Mouse - Ready ELISA - 1 plate - 128 tests	ET2994-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:4.3 pg/ml	Range:1800 - 28.1 pg/ml	Incub.Time:3.2 h	Sample:50 µl

TNF alpha 		Rat - ELISA Kit - 1 plate - 96 tests 	EK3003-A		£	318
Sensitivity:<4 pg/ml	Range:1000 -15.6 pg/ml	Incub.Time:2.45 h	Sample:50 µl

TNF alpha 		Rat - ELISA Kit - 1 plate - 96 tests	EK3004-A		£	289
Sensitivity:11.2 pg/ml	Range:2500 - 39 pg/ml	Incub.Time:3.25 h	Sample:50 µl

TNF alpha 		Rat - ELISA Kit - 2 plates - 192 tests	EK3005-B		£	430
Sensitivity:<4 pg/ml	Range:1000 -15.6 pg/ml	Incub.Time:2.45 h	Sample:50 µl

TNF alpha 		Rat - ELISA Kit - 5 plates - 480 tests	EK3006-C		£	1,091
Sensitivity:<4 pg/ml	Range:1000 -15.6 pg/ml	Incub.Time:2.45 h	Sample:50 µl

TNF alpha 		Monkey (Biotin)  - ELISA Kit 	EK2974-B		£	573
			Streptavidin HRP detection
Sensitivity:<2 pg/ml	Range:1000 -15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

TNF alpha 		Monkey - ELISA Kit - 1 plate - 96 tests	EK2975-A		£	344
Sensitivity:<2 pg/ml	Range:1000 -15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

TNF alpha 		Monkey -  ELISA Kit- 1 plate - 96 tests 	EK2235-A		£	289
Sensitivity:2.8 U/ml	Range:600 - 9.4 U/ml	Incub.Time:3.25 h	Sample:50 µl

TNF alpha 		Porcine - ELISA Kit - 1 plate - 96 tests	EK3015-A		£	354
Sensitivity:<6 pg/ml	Range:1000 -15.6 pg/ml	Incub.Time:4 h	Sample:50 µl

TNF alpha		Porcine - ELISA Kit - 2 plates - 192 tests	EK3016-B		£	556
Sensitivity:<6 pg/ml	Range:1000 -15.6 pg/ml	Incub.Time:4 h	Sample:50 µl
	
TNF beta								
TNF beta 		Human - ELISA Kit - 1 plate - 96 tests	EK3023-A 		£	313
Sensitivity:4.6 pg/ml	Range:1000 - 7.8 pg/ml	Incub.Time:4.1 h	Sample:100 µl

TNF beta 		Human - Ready ELISA - 1 plate - 128 tests	ET3024-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:4.6 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:4.1 h	Sample:100 µl

sTNF R1								
TNF R1 (60 kDa) sol 	Human - ELISA Kit - 1 plate - 96 tests 	EK3031-A		£	313
Sensitivity:53 pg/ml	Range:5 - 0.08 ng/ml	Incub.Time:2.25 h	Sample:10 µl

TNF R1 (60 kDa) sol 	Human - Ready ELISA - 1 plate - 128 tests	ET5577-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:53 pg/ml	Range:5 - 0.08 ng/ml	Incub.Time:2.25 h	Sample:10 µl

TNF R1 soluble 	Human - ELISA DIRECT Kit 	EK3046-A		£	351
		1 plate - 96 tests 
Sensitivity:0.05 ng/ml	Range:47.0 - 1.0 ng/ml	Incub.Time:1 h 15m	Sample:50 µl

TNF R1 soluble 	Human - ELISA DIRECT Kit -	EK3047-B		£	573
		2 plates - 192 tests 
Sensitivity:0.05 ng/ml	Range: 47 - 1.0 ng/ml	Incub.Time:1 h 15m	Sample:50 µl

TNF R1) soluble	Monkey - ELISA Kit - 1 plate - 96 tests	EK3035-A		£	289
Sensitivity:0.05 U/ml	Range:6 - 0.09 U/ml	Incub.Time:2.25 h	Sample:10 µl

TNF R1 soluble 	Monkey - Ready ELISA - 1 plate - 128 tests	ET3036-A		£	316
			Includes 4 x 8  well standard curves
Sensitivity:0.05 U/ml	Range:6 - 0.09 U/ml	Incub.Time:2.25 h	Sample:10 µl

TNF R2								
TNF R2 (80 kDa) sol 	Human - ELISA Kit - 1 plate - 96 tests	EK3050-A		£	313
Sensitivity:0.09 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:2.25 h	Sample:10 µl

TNF R2 (80 kDa) sol 	Human - Ready ELISA - 1 plate - 128 tests	ET5567-A		£	345
			Includes 4 x 8  well standard curves
Sensitivity:0.09 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:2.25 h	Sample:10 µl

TNF R2 soluble 	Human - ELISA DIRECT Kit 	EK3062-B		£	489
		2 plates - 192 tests 
Sensitivity:0.1 ng/ml	Range: 120-1.7 ng/ml	Incub.Time:1 h 15m	Sample:50 µl

TNF R2 	Mouse - Ready ELISA - 1 plate - 128 tests	ET3058-A	£	316
Sensitivity:0.6 pg/ml	Range:500 - 7.8 pg/ml	Incub.Time:3.25 h	Sample:50 µl (1:100 prediluted)

TWEAK								
TWEAK 		Human - Ready ELISA - 1 plate - 128 tests	ET3084-A		£	350
			Includes 4 x 8  well standard curves
Sensitivity:9.6 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:3.25 h	Sample:50 µl

t-PA (Tissue - type Plasminogen Activator)			
t-PA 		Human - ELISA Kit - 1 plate - 96 tests	EK2937-A		£	313
Sensitivity:6.4 pg/ml	Range:1000 - 15.6 pg/ml	Incub.Time:2.25 h	Sample:10 µl

VCAM-1								
VCAM-1 		Human - ELISA Kit - 1 plate - 96 tests	EK3093-A		£	344
Sensitivity:<0.5 ng/ml	Range: 75-1.17 ng/ml	Incub.Time:3 h	Sample:100 µl

VCAM-1 		Human - ELISA Kit - 2 plates - 192 tests	EK3094-B		£	573
Sensitivity:<0.5 ng/ml	Range: 75-1.17 ng/ml	Incub.Time:3 h	Sample:100 µl

VCAM-1 soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2887-A		£	351
Sensitivity:0.9 ng/ml	Range:100 - 3.2 ng/ml	Incub.Time:2.25 h	Sample:100 µl 

VCAM-1 soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2882-A		£	313
Sensitivity:0.59 ng/ml	Range:100 - 3.2 ng/ml	Incub.Time:2.25 h	Sample:100 µl (1:50 prediluted)

VEGF								
VEGF 		Human - ELISA Kit - 1 plate - 96 tests	EK3116-A		£	358
Sensitivity:<5 pg/ml	Range: 1500 -23.4 pg/ml	Incub.Time:4 h	Sample:50 µl

VEGF 		Human - ELISA Kit - 2 plates - 192 tests	EK3117-B		£	566
Sensitivity:<5 pg/ml	Range: 1500-23.4 pg/ml	Incub.Time:4 h	Sample:50 µl

VEGF		Mouse - ELISA Kit - 1 plate - 96 tests	EK3124-A		£	350
Sensitivity:<5.0pg/ml	Range:500 – 7.8 ng/ml	Incub.Time:3 h	Sample:20 µl 

VEGF 		Mouse - ELISA Kit - 1 plate - 96 tests	EK3125-B		£	445
Sensitivity:<5.0pg/ml	Range:500 – 7.8 ng/ml	Incub.Time:3 h	Sample:20 µl

VEGF A								
VEGF A 		Human - ELISA Kit - 1 plate - 96 tests	EK3099-A		£	313
Sensitivity:13.5 pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:50 µl

VEGF A 		Mouse - ELISA Kit - 1 plate - 96 tests	EK3102-A		£	289
Sensitivity:4.5.pg/ml	Range:2000 - 31.3 pg/ml	Incub.Time:3.25 h	Sample:25 µl

VEGF C								
VEGF-C		Human - ELISA Kit - 1 plate - 96 tests	EK3103-A		£	313
Sensitivity:12.8 pg/ml	Range:3000 - 46.9 pg/ml	Incub.Time:3.25 h	Sample:50 µl

VEGF C		Rat - ELISA Kit - 1 plate - 96 tests	EK3106-A		£	289
Sensitivity:3.6 pg/ml	Range:3000 - 46.9 pg/ml	Incub.Time:3.2 h	Sample:50 µl

VEGF R1								
VEGF R1 soluble 	Human - ELISA Kit - 1 plate - 96 tests	EK2897-A		£	313
Sensitivity:0.06 ng/ml	Range:10 - 0.16 ng/ml	Incub.Time:3.25 h	Sample:50 µl007  Customer price UK